PROJECT SPECIFICATION

Pancreatic Cancer Segmentation — Residual CNN + Multi-Head Self-Attention (MHSA)+ (add any architecture that improvises the results along with the above-mentioned model)

Dataset: Medical Segmentation Decathlon — Task 07 (Pancreas)

# 1. Project Overview

The goal of this project is to build a 3D semantic segmentation pipeline for pancreatic CT scans that identifies three classes — background, pancreas, and tumor — using a Residual CNN encoder combined with a Multi-Head Self-Attention (MHSA) module. The model must also support Grad-CAM based explainability (XAI) to visualize and validate what regions the network is attending to when making predictions.

# 2. Dataset

- Source: Medical Segmentation Decathlon (MSD) — Task 07 (Pancreas). the dataset is a strict requirement.

- Classes: 3 — Background, Pancreas, Tumor.

- Format: NIfTI (.nii.gz) volumetric CT scans with corresponding segmentation masks.

- Data split:

  - Training: 70%

  - Validation: 15%

  - Testing: 15%

- Cross-validation: 5-fold cross-validation is required on top of the above split (apply 5-fold CV within the training/validation pool, and report averaged metrics across folds).each fold should have min 20 ephocs.

# 3. Preprocessing Pipeline

Apply preprocessing steps in the following order:

- ROI-based patch extraction.

- CLAHE

- Targeted zoom augmentation

- Elastic deformation

- Multiscale training

- Attention-guided augmentation

apart from these ,add whatever is required for a proper outcome

# 4. Model Architecture — Residual CNN + MHSA

Encoder: Residual CNN (ResNet-style residual blocks) feeding into a Multi-Head Self-Attention module, followed by a decoder for pixel/voxel-wise segmentation output. Final numeric configuration below.

| Hyperparameter | Final Value | Search Range (if re-tuning) |
| --- | --- | --- |
| CNN Encoder | Residual CNN | — |
| Number of Attention Heads | 8 | 4, 8, 12 |
| Embedding Dimension | 512 | 128, 256, 512 |
| Attention Dropout | 0.1 | 0.0, 0.1, 0.2 |
| FFN Dimension | 2048 | 512, 1024, 2048 |
| Attention Layers | 4 | 2, 4, 6 |
| Optimizer | AdamW | — |
| Learning Rate | 1 × 10⁻⁴ | 1e-5 to 3e-4 |
| Weight Decay | 1 × 10⁻⁵ | 1e-5 to 1e-2 |
| Batch Size | As per hardware (3D CT) | 2,4, 8 |
| Loss Function | Dice + Focal + Boundary Loss | — |
| Validation Strategy | 5-fold cross-validation | — |

Explainability module: Grad-CAM must be integrated to visualize attention/activation regions driving the segmentation decision. Use Grad-CAM outputs both for qualitative validation (visual sanity-check against tumor location) and as an input signal to the attention-guided augmentation step in preprocessing.

Full architecture label as given by the project owner: "CNN + Multi-Head Self-Attention + Grad-CAM + Explainable AI."

# 5. Training Configuration Summary

- Optimizer: AdamW

- Learning rate: 1 × 10⁻⁴ (tunable range: 1e-5 to 3e-4)

- Weight decay: 1 × 10⁻⁵ (tunable range: 1e-5 to 1e-2)

- Loss function: composite loss = Dice Loss + Focal Loss + Boundary Loss (get exact per-term weighting confirmed with project owner before finalizing — not specified in source notes)

- Batch size:  8 based on available GPU VRAM (3D CT volumes are memory-heavy)

- Cross-validation: 5-fold

- Batch wise training, (note: not image or slice)

# 6. Hyperparameter Optimization

- Use the Aquila Optimizer (metaheuristic optimization algorithm) to search over the hyperparameter ranges listed in Section 4 (heads, embedding dimension, dropout, FFN dimension, attention layers, learning rate, weight decay, batch size).

- Use the resulting Grad-CAM outputs at each candidate configuration as part of evaluating which hyperparameter set is best — i.e., the optimizer selection should account for both quantitative segmentation performance and Grad-CAM interpretability quality.

- Use LIME

# 7. Evaluation Metrics (Mandatory)

All of the following metrics must be computed and reported. Dice and IoU must be reported per class.

| Metric | Reporting Requirement |
| --- | --- |
| Dice Score | Mandatory — report separately for Background, Pancreas, and Tumor classes |
| IoU (Intersection over Union) | Mandatory — per class |
| Precision | Mandatory |
| Recall (Sensitivity) | Mandatory |
| F1 Score | Mandatory |
| Accuracy | Mandatory |
| AUC-ROC | Mandatory |
| mAP (Mean Average Precision) | Mandatory |
| MCC (Matthews Correlation Coefficient) | Mandatory |

Critical success criterion: Tumour-class Dice score MUST be ≥ 0.84. This is a hard requirement from the project owner ("ma’am’s requirement") and is the primary bar for project acceptance — it takes priority over other metrics if trade-offs are needed.

# 8. Environment & Dependencies (to confirm/set up)

- Python 3.9+ recommended for compatibility with common medical imaging libraries.

- Deep learning framework: PyTorch (recommended for MONAI compatibility) — confirm with project owner if TensorFlow is required instead.

- Suggested libraries: MONAI or nibabel (NIfTI I/O), numpy, scikit-learn (for MCC/AUC/mAP), scikit-image (CLAHE), torchio or MONAI transforms (elastic deformation, augmentation), pytorch-grad-cam or a custom Grad-CAM implementation, matplotlib/seaborn (visualization).

- GPU: CUDA-enabled GPU required; 3D volumes + attention layers are memory-intensive — recommend minimum 16GB VRAM, more if using batch size 8 at high resolution.

- Track experiments with TensorBoard or Weights & Biases (W&B) — recommended so hyperparameter search runs (Aquila Optimizer) and 5-fold CV results are all logged and comparable.

# 9. Expected Deliverables

- Complete, documented codebase (data loading, preprocessing pipeline, model definition, training loop, evaluation script, Grad-CAM visualization script).

- Trained model checkpoint(s) — best model per fold and final averaged/ensembled model if applicable.

- Hyperparameter search logs/results from the Aquila Optimizer run.

- 5-fold cross-validation results table with all mandatory metrics (Section 7), broken down per class where applicable.

- Grad-CAM visualizations for a representative sample of test cases, especially tumor cases.

- Final evaluation report confirming tumor Dice ≥ 0.84, or a clear explanation and results if that threshold is not met.

- Inference script that takes a new CT volume and outputs the segmentation mask + Grad-CAM overlay.

- README covering environment setup, how to reproduce training, and how to run inference.

# 10. Additional Notes

- This is a research/academic project with a specific faculty/supervisor requirement (tumor Dice ≥ 0.84) — treat this as the top-priority success metric.

- Please provide the notebook along with the other materials.